[image: image1.jpg]HOME DEVELOPERS LTD




CONTRACTORS & DEVELOPERS

57B GRIVA DIGENI STR,  2682 PALIOMETOCHO-NICOSIA

ΤEL:  99816368  FAX:  22835587
ANTHOUPOLI - FLATS
         GENERAL TECHNICAL TERMS  – BASED ON DRAWING  

1. FOUNDATIONS 
Foundation will be made depending on the nature of subsoil (and static calculations) from ready made concrete based on technical drawings and calculations. 

2. SKELETON 
System of ready made concrete generally. The plates of ground floor and floor will be from ready made concrete horizontal and isolation.
3. BRICKWORK 
The internal walls that separate the rooms between them will be from bricks of thickness of 10 mill. in the dimensions that are determined in the drawings. The exterior walls will be also from bricks 20 mill. 

4. COATS 
Internally all the walls will be of three stages of plaster with mortar. Behind the kitchen cabinets and wordrobes, where porcelains are placed, plastering will be of two stages. Externally three stages of plaster will be made in order for it to accept paint. The ceiling will be  FAIR - FACE  and 2 stages of spatoula will be placed. 

5. DECORATIONS OF WALLS 
The walls of toilets and the bathroom and shower will be placed coloured porcelains up to the windows. In the kitchen will be placed coloured porcelains in the space between the top and bottom cabinets. Value of purchase of porcelains EUROS 14,00/M² 
6. FLOORS 
a)  In the  all the BEDROOMS will be placed laminated  parke value of buying & installing EURO 17,00/M² 
b)  In the Toilets & bathroom & bedrooms will be placed ceramic tiles of value EURO 14,00/M². 

c)  On the verandas of 1st floor and 2nd floor they will be placed with ceramics valued EURO 10,00/M²  

d)  The entry & flooring of the parking will be of rubbed concrete.  

7.     HANDLES OF DOORS 


      For exterior front door value EURO 34,00. For internal doors value EURO 17,00 each

EXTERIOR DECORATIONS
The exterior of the house will be of 2 stages of plaster with mortar & 1 coat of coloured grafiato.
8.  DOOR OF MAIN ENTRY 

      It will be made by aluminium of value EURO 430,00. 

9. DOORS INTERNAL 
 All the internal doors will be pressed, invested with wood beech  thickness of 4  mms and from the 2 sides value EUROS 200,00 each.
10.  WINDOWS OF THE FLATS
 
      Glasses: Double glasses (Double  Glazing) white. 

11.  WORDROBES OF BEDROOMS 


    All the wordrobes of the bedrooms  will be accordingly with. The technical drawings and internal be of 18mm of    


    Wood beech of thickness 18mm of value EURO 145,00/M. 

12.  KITCHEN CABINETS
      Value of cabinets will be EURO 190,00/M  including handles, elements and  the top part of the lower cabinet. 
      The higher part of the cabinet will be of value EURO 170,00/M.

13. W.C , BATHROOM & SHOWER 
They will be placed according to the drawings. The sum  value is EURO 1970,00 for the sinks in bathroom, bath,           kitchen sink with all the elements mixers,hangers and sun element and water tank.
14. ELECTRIC INSTALLATION 

Electric installation will be according to the drawings and  the approval of E.A.C.  

15. HYDRAULIC AND SEWERAGES 
Will be made according to the technical drawings. Provision for the connection of future sewerage will be placed.

       16.    AIR CONDITIONING & HEATING 
Provision for split unit a/c will be made for all the bedrooms and one for the kitchen/living-room. Any other type of heating will be on the customers expense.
17.     PAINTS

All the internal walls and the ceilings of ground,1st & 2nd  floor will be of  Spatoula and paint

           18.     FENCING 

The fencing of plot will be from concrete and 1 hand grafiato.

. 

NOTE:  1) Prices above include the V.A.T OF 15%. 

